## Sheet1
| Timestamp | Building Name | Cook_type | Space_heat_type | DHW_type | Address | City | County | Leg District | Building Type | Floor Area (sq ft) | Description | link | link2 | Architects, contractors, or engineers associated with the project | Architect | Engineer | Builder | Project Phase | lat | lon
0 |  | 840 Spokane |  | Y | N |  | Spokane | Spokane | 3 | Lab/Office/Higher Ed | 90000 | When completed in Fall 2022, the Regional Health Partnership Building will offer 90,000 square feet of modern classroom, laboratory and office space for the University of Washington and Gonzaga University medical programs. The all-electric building features dedicated outdoor air systems and uses open loop ground source heat pumps for space heating and space cooling. | https://www.spokanehealthpeninsula.com/840building/ |  | Builder: Emerald Initiative. Architect: CollinsWoerman. | CollinsWoerman |  | Emerald Initiative | Construction | 47.6572 | -117.4235
1 |  | Catalyst Building | Electric | Y | Y |  | Spokane | Spokane | 3 | Office | 150000 | This is a new 150,000 square foot office building in Spokane with a new central district plant that heats and cools the building. The Catalyst building has a net zero energy target, heat recovery of all exhaust air, thermal energy and battery storage systems. In addition, the building has rooftop solar, LED lighting, and a high performance building envelope design, exceeding Passive House airtightness. | https://www.catalystspokane.com/ |  | Engineer: McKinstry. |  | McKinstry |  | Built | 47.6584 | -117.4022
2 |  | Fire Station 72 | Electric | Y | Solar Water Heater |  | Issaquah | King | 5 | Fire Station |  | This Fire Station uses only 1/4 of the energy use of similar regional facilities though the use of super-insulation, heat recovery ventilation, a ground source heat pump system, solar water heating, high efficiency appliances, advanced lighting design and controls, and real-time energy use feedback to the occupants. The project includes an 8,500 gallon above grade rainwater cistern for toilet flushing, laundry, irrigation, and truck washing and is on track to reduce potable water use by more than 50% over a standard fire-station. | https://ecotope.com/project/fire-station-72/ | https:/www.tca-inc.com/issaquah-fire-station-72 | Engineer: Ecotope. |  | Ecotope |  | Built | 47.5426 | -122.0615
3 |  | New Caltech LIGO Exploration Center - 127124 N Rt. 10 | Unknown | Y | N |  | Richland | Benton | 8 | Museum |  | The new Caltech LIGO (Laser Interferometer Gravitational Wave Observatory) exploration center will be heated and cooled with heat pumps and Variable Refrigerant Flow (VRF). Water heating will also be electric. An energy model of the building was conducted early in the design process when the engineers were planning on using natural gas for heating. The model showed a significant reduction in energy use if they switched to heat pumps. Since the building is pursuing LEED certification also, it meant more energy points. | https://www.ligo.caltech.edu/WA/page/lexc |  | Designer: Terence L. Thornhill. Builder: DGR Grant Construction. Energy Modelling: ArchEcology. | Terence L. Thomhill | ArchEcology | DCR Grant Construction | In Construction | 46.4552 | -119.4075
4 |  | King County Central Maintenance Facility ("Renton Shop") |  | N | Y |  | Renton | King | 11 | Office, Industrial |  | The project is targeting the International Living Future Institute's Zero Energy Certification as a base goal and Energy Petal Certification as a stretch goal. This project is one of ten green building projects selected to further King County's 2015 Strategic Climate Action Plan. The facility is designed to reduce energy loads and generate solar power on site. The goal for Zero Energy certification is to produce a net annual consumption of zero energy. Energy Petal Certification contains the same requirement, plus additional power production on site achieving net positive energy production (at least 5% more solar energy production than consumption), and battery backup for resiliency. | https://kingcounty.gov/services/parks-recreation/parks/capital-improvements/centralmaintenancefacility.aspx |  | Engineer: Rushing. |  | Rushing |  | Design/Construction | 47.4834 | -122.1757
5 |  | King County International Airport | Unknown if there are cooktops | Y | N |  | Seattle | King | 11 | Airport |  | By replacing gas boilers with VRF heat pumps and a dedicated outdoor air system and adding energy recovery ventilators, the energy usage of this very busy non-hub airport was decreased by 70%. | https://betterbuildingssolutioncenter.energy.gov/showcase-projects/king-county-airport-terminal |  | Engineer: Ecotope. |  | Ecotope |  | Built | 47.5298 | -122.3009
6 |  | Seattle Public Utilities South Transfer Station | Unsure if there are cooktops. | Y | Y |  | Seattle | King | 11 | Commercial, Utilities | 141000 | South Seattle’s 141,000 square foot, LEED Gold transfer facility provides abundant daylight on the flat tipping floor. Natural ventilation keeps the building cool and exhausts odors. | https://millerhull.com/project/spu-south-transfer-station-2/ |  | Architect: Miller Hull Partnership. | Miller Hull Partnership |  |  | Built | 47.5331 | -122.333
7 | King County Housing Authority Office | King County Housing Authority Office | Unsure if there are cooktops. | Y | N |  | Tukwila | King | 11 | Office | 36000 | This renovation of a 36,000 SF retail space into offices for the King County Housing Authority created a Net Zero Ready design, which includes ERV and VRF heat pump systems, lighting controls, and occupancy controls. The offices uses 70% less energy than the national average. | https://www.nxtbook.com/nxtbooks/ashrae/ashraejournal_201411/index.php?startid=64#/p/64 |  | Architect: Rice Fergus Miller. Engineer: Ecotope. | Rice Fergus Miller | Ecotope |  | Built | 47.4493 | -122.2536
8 |  | Samaritan Healthcare - Moses Lake | Unsure if there are cooktops. | Y | N |  | Moses Lake | Grant | 13 | Hospital | 175000 | This new all-electric 175,000 square-foot hospital will house twelve ICU beds, twenty-five medical/surgical beds, a labor & delivery unit, diagnostic and treatment services, six operating rooms, two gastrointestinal labs, administrative support space, hospital support spaces, and a central utility plant. The HVAC systems includes a heat pump heat recovery chiller and decoupling heating and cooling from ventilation to minimize reheat mimicking active 4-pipe beams to heat and cool the patient rooms, emergency department, and B-occupancy areas | https://www.pae-engineers.com/projects/samaritan-healthcare-moses-lake |  | Architect: ZGF Architects Seattle. General Contractor: Graham Construction. Mechanical, electrical, plumbing, technology, and building analysis and modeling services: PAE Consulting Engineers. Lighting Design: Luma. | ZGF Architects Seattl | PAE | Graham | Built | 47.1121 | -119.2606
9 |  | Mukilteo Ferry Terminal | Unknown if there are cooktops | Y | N |  | Mukilteo | Snohomish | 21 | Transportation | 20000 | The 20,000 sf building is entirely fossil fuel free for operations, including an all-electric hydronic radiant floor in the terminal. A heat pump with heat recovery serves a dedicated outside air unit to precondition fresh air and domestic hot water is provided by an electric boiler. The public areas use natural ventilation and ceiling fans for fresh air and cooling. | https://wsdot.wa.gov/construction-planning/search-projects/ferries-mukilteo-multimodal-terminal-project |  | Architect: LMN Architects | LMN Architects |  |  | Built | 47.9502 | -122.2973
10 | 2021-03-16 20:20 | Single Family New Construction, 517 Flora Vista Rd. NE | Electric | Y | Y |  | Olympia | Thurston | 22 | Single Family New Construction |  | This is a home certified at PHIUS Source Zero with both a heat pump for space heating and cooling and Sanden Heat Pump Water Heater with an extremely air tight envelope (0.0183 cfm/ft2). The cooktop is electric. | https://www.phius.org/projects/1282 |  | Builder: Bicycle Homebuilding Company. Certified Passive House Consultant: Dan Whitmore. Rater: Skyler Swinford. | Dan Whitmore |  | Bicycle Homebuilding | Built | 47.0761 | -122.9018
11 |  | LOTT Clean Water Alliance | Unknown if there are cooktops | N | Y |  | Olympia | Thurston | 22 | Office |  | LOTT Clean Water Alliance is a regional wastewater treatment agency in the Pacific Northwest serving 85,000 customers across four jurisdictions. A water-to-water-source heat pump is the primary source of domestic hot water for the building, and a run-around heat recovery loop in the laboratory also captures heat from the fume hood exhaust system and uses it to temper the outside makeup air. Methane generated from the plant’s waste treatment process is used in a cogeneration plant to generate electricity and heat. The heat is used directly in the building through a low-temperature water loop connected to water-source heat pumps, thus eliminating the need for a boiler, cooling tower, or geothermal field. | https://www.aiatopten.org/node/101 |  | Architect: Miller Hull Partnership. | Miller Hull Partnership |  |  | Built | 47.048 | -122.898
12 |  | Capitol Childcare Center | Electric | N | Y |  | Olympia | Thurston | 22 | Childcare, commercial |  | The Capitol Childcare is all-electric. The DOAS ventilation system has an energy recovery unit that preconditions in-coming air. Additional heat when needed is provided by electric cove heaters mounted on the walls. The water heating is done by electric water heaters and the cooktop is electric (not induction). | https://des.wa.gov/services/facilities-leasing/capitol-campus/capitol-campus-projects/capitol-childcare-center | https://www.mahlum.com/author/mahlum/ | Architect: Mahlum. | Mahlum |  |  | Under construction, to be completed by end of 2021 | 47.0469 | -122.9198
13 |  | Harbor Square Condominiums | Electric | Y | N |  | Bainbridge Island | Kitsap | 23 | Multi-Family, Mid to High Rise |  | 180 units plus retail. 4 stories, 6 buildings. Built in 2008 with heat pump heating and cooling. All-electric was the lowest first cost. | https://www.shoesmithcox.com/past-projects/urban-housing/harbor-square/ |  | Architect: Mithun. Developer: Opus NW. | Mithun |  | Opus NW | Built | 47.6252 | -122.5123
14 |  | Blakely and Wilkes Elementary Schools |  | Y | Y |  | Bainbridge Island | Kitsap | 23 | School |  | Both elementary schools use a hybrid deep-bore ground source heat pump, with a backup electric boiler, for heating and cooling. Ventilation is provided using dedicated outside air units with heat recovery, and mixed-mode natural ventilation. Both schools also use daylighting features to reduce electricity use. | https://www.arup.com/projects/wilkes-elementary-school | https://www.arup.com/projects/blakely-elementary | Engineer: Arup. Architect: Mahlum. | Mahlum | Arup |  | Built | 47.6783 | -122.5224
15 | 2020-12-22 13:11 | Olympic High School | Unknown if there are cooktops | Y | Y |  | Bremerton | Kitsap | 23 | School | 300000 | Olympic High School is one of the most energy efficient high schools in the Pacific Northwest. The combined new floor area of 300,000 square feet uses half the energy prior to the remodel. It is an all-electric, Net Zero Ready school with new heat pumps and future upgrades with photovoltaic installation. | https://sklarchitects.com/portfolio_page/olympic-high-school-remodel/ |  | Architect: Sundberg Kennedy Ly-Au Young. Engineer: Ecotope. | Sundberg Kennedy Ly-Au Young | Ecotope |  | Built | 47.6268 | -122.6637
16 |  | Port Angeles Waterfront Center | Unknown if there are cooktops | Y | Y |  | Port Angeles | Clallum | 24 | Assembly | 40000 | The 40,000 square foot Field Arts & Events Hall provides a new performing arts space and community gathering place on the city’s waterfront, featuring a 500-seat multi-purpose performance hall. A high performance envelope with optimized glazing and shading, paired with a variable refrigerant flow (VRF) heat pump system, provides an efficient, electrified building. | https://lmnarchitects.com/project/field-arts-and-events-hall |  | Architect: LMN Architects. | LMN Architects |  |  | Built | 48.1212 | -123.4348
17 | 2021-04-30 15:22 | Peninsula College Allied Health and Early Childhood Development Center | Unknown if there are cooktops | Y | Y |  | Port Angeles | Clallam County | 24 | Higher Ed | 40000 | This 40,000 square foot building houses Peninsula Community College’s healthcare and early childhood education programs, as well as childcare facilities for toddlers and preschoolers. It has achieved All Electric Building Status using: variable refrigerant flow (VRF) heating and cooling, natural ventilation for passive cooling of classrooms and offices, low-temperature hot water heating via air-source heat pumps, low-flow plumbing fixtures, dedicated outdoor air systems for ventilation with heat recovery, a high performance building envelope, and fixed exterior shades. | https://pencol.edu/ECDC |  | Owner: Peninsula College. Architect: Mithun. Mechanical predesign: PAE. | Mithun | PAE |  | Built | 48.1009 | -123.4121
18 |  | The Northwest Maritime Center | Unknown if there are cooktops | Y | Y |  | Port Townsend | Jefferson | 24 | Office | 26000 | A Port Townsend 26,000 LEED Gold facility with hands-on educational spaces, boat maintenance and storage spaces, administrative offices, and conference facilities. The project utilizes an ocean source heat pump with titanium heat exchanger plates installed under the pier. A closed water loop circulated throughout the building uses the ocean as a heat source or sink. This variable speed heat pump loop provides all space conditioning needs including radiant floor as well as domestic hot water needs for the project. | https://nwmaritime.org/about/our-campus/ |  | Architect: Miller Hull Partnership | Miller Hull Partnership |  |  | Built | 48.1161 | -122.7518
19 |  | Rice Fergus Miller Office | Unknown if there are cooktops | Y | N |  | Bremerton | Kitsap | 26 | Office | 22000 | The office space for Rice Fergus Miller Architects renovated an abandoned 22,000 SF warehouse and achieved a LEED Platinum rating. The design includes VRF heat pumps and heat recovery ventilators which, in a passive mode of operation, uses no HVAC energy for 40% of the year. | https://www.hpbmagazine.org/rice-fergus-miller-office-and-studio-bremerton-wa/ |  | Architect: Rice Fergus Miller. Engineer: Ecotope. | Rice Fergus Miller | Ecotope |  | Built | 47.5665 | -122.6257
20 | 2020-12-22 13:14 | West Hills STEM Academy | Unknown if there are cooktops | Y | Y |  | Bremerton | Kitsap | 26 | School | 14000 | This project added 14,000 square feet of classrooms and flexible space to the first K-8 academy in the West Puget Sound for Science, Technology, Engineering, and Mathematics. The natural ventilation system is used as a learning tool for students and cuts the energy usage to half that of a typical school. | https://www.rfmarch.com/work/bremerton-school-district-west-hills-stem-academy/ |  | Architects: Rice Fergus Miller Architects and Planning. Engineer: Ecotope. | Rice Fergus Miller | Ecotope |  | Built | 47.5573 | -122.6669
21 |  | Heron's Key Retirement Community | Unknown if there are cooktops | Y | N |  | Gig Harbor | Pierce | 26 | Multi-Family, Mid to High Rise |  | Heron's Key Continuing Care Retirement Community uses heat pumps and energy recovery ventilators to achieve a highly energy efficient building for all 183 units and 24-hour nursing facility. | https://www.heronskey.org/ | https://ecotope.com/energy-efficient-assisted-living-in-gig-harbor/ | Architect: Rice Fergus Miller. Engineer: Ecotope. | Rice Fergus Miller | Ecotope |  | Built | 47.3588 | -122.5948
22 | 2020-12-22 13:52 | Place of Hidden Waters - Puyallup Longhouse | Unknown | Y | Y |  | Tacoma | Pierce | 27 | Multi-Family, Low-Rise |  | This 20 unit complex for the Puyallup Tribal Housing Authority was built with with a central geothermal heat pump system with radiant floor heating and cooling. | https://www.eworks.org/detail-place-of-hidden-waters |  | Architect: Environmental Works. Engineer: Ecotope | Rice Fergus Miller | Ecotope |  | Built | 47.6507 | -122.3497
23 | 2020-12-22 13:08 | Westside School | Unknown | Y | Y |  | Seattle | King | 34 | School | 55000 | The renovated Westside School transformed an outdated 35,000 square foot church structure into an extremely energy efficient 55,000 square foot K-8 school in West Seattle. Dedicated outside air systems with energy recovery and zonal heat pumps help to make this the most efficient school in the region. | http://ecotope.com/westside-school-gets-an-a-for-energy-efficiency/ |  | Architect: Sundberg Kennedy Ly-Au Young. General Contractor: Kirtley Cole. Mechanical Engineer: Ecotope. | Sundberg Kennedy Ly-Au Young | Ecotope | Kirtley Cole | Built | 47.5686 | -122.3838
24 | 2020-12-22 12:59 | Skokomish Tribal Community Center | Unknown if there are cooktops | Y | Y |  | Skokomish | Mason | 35 | Assembly |  | This Zero Net Energy community center includes a photovoltaic array, air-source heat pumps, and energy recovery ventilators which allows the mechanical system to be designed for heating rather than peak cooling loads. | http://www.7directionsarchitects.com/project/skokomish-tribal-master-plan-community-center/ |  | Architect: 7 Directions Architects and Planners. Engineer: Ecotope. | 7 Directions | Ecotope |  | Built | 47.3425 | -123.1627
25 |  | Taproot Theater | Unknown if there are cooktops | Y | N |  | Seattle | King | 36 | Assembly | 12000 | This 12,000 square foot theater has a heat pump for space heating and cooling, a green roof, reclaimed materials, and other features. | https://www.methodhomes.net/portfolio/taproot-theatre |  | Architect: Miller Hull. | Miller Hull Partnership |  |  |  | 47.6908 | -122.3563
26 |  | Seattle Opera at the Center | Unknown if there are cooktops | Y | N |  | Seattle | King | 36 | Office, Assembly | 105000 | The Seattle Opera at the Center is a new 105,000 SF facility adjacent to McCaw Hall at the Seattle Center, completed in 2018. The facility includes offices, scene assembly rooms, shops, and rehearsal spaces. Building systems include variable refrigerant flow (VRF) and packaged heat pump HVAC and electric radiant floor. | https://www.seattleopera.org/about/opera-center/ |  | Engineer: Arup. |  | Arup |  | Built | 47.624 | -122.3495
27 |  | Green Canopy Ballard Townhomes, 2450 NW 63rd St, Seattle, WA | Electric | Y | N |  | Seattle | King | 36 | Residential, townhome |  | The homes are rented to families earning 60% and 80% of the area median income, and provides housing for 11 adults and seven children. In partnership with the Washington State Housing Finance Commission (WSHFC), Green Canopy completed these seven Net Zero Ready, all-electric, healthy, Built Green certified and affordable homes. | Green Canopy Case study |  | Builder: Green Canopy. |  |  | Green Canopy | Built | 47.6748 | -122.3899
28 |  | Bill Hobson Place (Phase 2) - Downtown Emergency Services Center | Unknown | Y | Y |  | Seattle | King | 37 | Affordable Housing |  | This is one of four initial pilot projects in Housing Development Consortium’s Exemplary Buildings Program. Bill Hobson Place Phase 2 will provide affordable housing and a health care facility for individuals experiencing homelessness. The project has received Passive House pre-certification, meaning it is planned to be very energy efficient and produce most of its energy on-site. | https://exemplarybuilding.housingconsortium.org/ |  | Architect: Runberg Architecture Group General Contractor: Walsh Construction Co. Development Consultants: Lotus Development Partners MEP Consulting Engineer: Rushing Company | Runberg Architecture Group | Rushing | Walsh | Design/Construction | 47.586 | -122.3045
29 |  | Sawara (Yesler Terrace Project 7.3) | Unknown | Y | Y |  | Seattle | King | 37 | Affordable Housing |  | This is one of four initial pilot projects in Housing Development Consortium’s Exemplary Buildings Program. The Sawara (Yesler Terrace Project 7.3) will provide 110 affordable housing units ready for occupancy by 2023. The building will use a CO2 heat pump water heater. | https://exemplarybuilding.housingconsortium.org/our-demonstration-projects/ |  | Developer: Seattle Housing Authority Architect: Ankrom Moisan Architecture. Engineer: Ecotope | Ankrom Moisan | Ecotope | Seattle Housing Authority | Design/Construction | 47.6028 | -122.3197
30 |  | Othello Square Building D | Unknown | Y | Y |  | Seattle | King | 37 | Affordable Housing |  | This is one of four initial pilot projects in Housing Development Consortium’s Exemplary Buildings Program. The Othello Square (Building D) will provide 68 affordable housing units that will be ready for occupancy by 2023. The building will have a heat pump water heater, solar panels, and other energy-saving measures. | https://exemplarybuilding.housingconsortium.org/our-demonstration-projects/ |  | Developer: HomeSight Builder: Cascade Built Architect: SKL Architects General Contractor: Marpac Construction LLC Development Consultants: Barrientos Ryan Ecotope | SKL Architects | Ecotope | Marpac Construction | Design/Construction | 47.537 | -122.283
31 |  | SCIDpda North Lot (Phase 1) | Unknown | Y | Y |  | Seattle | King | 37 | Affordable Housing |  | This is one of four initial pilot projects in Housing Development Consortium’s Exemplary Buildings Program. The SCIDpda North Lot (Phase 1) will provide 158 affordable housing units and will be completed by 2023. The complex will have a high performance building envelope design including triple pane windows, electric heat pump water heating equipment, energy recovery ventilators (ERV) in the dwelling units, a rooftop ERV serving the corridor, energy star appliances, and low-flow plumbing fixtures. | https://www.20by2020challenge.org/scidpda-north-lot |  | Owner: SCIDpda Architect: Weber Thompson Consulting Engineer: Rushing General Contractor: Marpac Construction Development Consultant: Edge Developers LLC | Weber Thompson Consulting | Rushing | Marpac Construction | Design/Construction | 47.599 | -122.3252
32 | 2020-12-22 13:51 | Batik Apartments | Unknown | Y | Y |  | Seattle | King | 37 | Multi-Family, Mid to High Rise |  | The Batik Apartments are part of the ambitious 30-acre Yesler Terrace redevelopment plan to replace an aging close-in affordable housing development with a mixture of low-income and market-rate housing and commercial buildings to create a more integrated, vibrant neighborhood. This LEED Platinum mid-rise multifamily uses a central heat pump water heating system. | http://runberg.com/wp-content/uploads/2020/10/ZEBx-Case-Study_Batik_2020-2.pdf | http://runberg.com/work/batik/ | Architect: Runberg Architecture Group. Engineer: Ecotope. | Runberg Architecture Group | Ecotope |  | Built | 47.6025 | -122.3211
33 | 2020-12-22 13:51 | Cypress Apartments | Unknown | Y | Y |  | Seattle | King | 37 | Multi-Family, Mid to High Rise |  | The Cypress Apartments are part of the ambitious 30-acre Yesler Terrace redevelopment plan to replace an aging close-in affordable housing development with a mixture of low-income and market-rate housing and commercial buildings to create a more integrated vibrant neighborhood. This LEED Platinum mid-rise multifamily uses a central heat pump water heating system. | http://runberg.com/work/cypress/ |  | Architects: Runberg Architecture Group. Engineer: Ecotope | Runberg Architecture Group | Ecotope |  | Built | 47.6024 | -122.3205
34 | 2020-12-22 13:21 | Giddens School and Lake Washington Girls Middle Schools | Unknown if there are cooktops | Y | Y |  | Seattle | King | 37 | School | 20000 | This 20,000 square foot joint venture elementary and middle school includes a highly efficient thermal envelope, LED lightening with daylighting controls, and future rooftop photovoltaic panels. The schools have a heat pump water heating system along with a rainwater harvesting used for toilet system. | https://www.architectmagazine.com/project-gallery/giddens-school-and-lake-washington-girls-middle-school-complex |  | Architects: Graham Baba Architects. Engineer: Ecotope. | Graham Baba Architects | Ecotope |  | Built | 47.5837 | -122.3051
35 |  | King Street Station |  | Y | N |  | Seattle | King | 37 | Assembly, Transportation |  | The King Street Station is Seattle’s railway hub for Amtrak and Sounder traffic, including regional light rail and buses. The building uses a geothermal well with ground-source heat pump for heating and cooling, and includes efficient features such as natural ventilation. | https://www.architectmagazine.com/project-gallery/king-street-station |  | Engineer: Arup. |  | Arup |  | Built | 47.5984 | -122.3299
36 |  | Hopeworks Station II | Electric | Y | Y |  | Everett | Snohomish | 38 | Affordable Housing |  | Design includes triple pane windows, energy recovery ventilators (ERVs) in all amenity spaces and residential units. Domestic hot water is supplied by a decentralized heat pump unit that each serves a vertical stack of six apartments. The low energy usage of the building is paired with a 200-kW photovoltaic array that will fully offset the energy use of the residential units. The project is on track for Net Zero Energy certification and Evergreen Sustainable Development Standard (ESDS) | https://www.hopewrks.org/sustainability |  | Architect: Dykeman Architects. Designer: GGLO Design. Engineer: Ecotope. | Dykeman | Ecotope |  | Built | 47.9729 | -122.2011
37 |  | Washington State University Everett | Unknown if there are cooktops | Y | N |  | Everett | Snohomish | 38 | Higher Ed | 94000 | This 94,000sf higher education building houses mechanical, electrical, and software engineering programs for Washington State University. This all-electric building was completed in 2017 and uses variable refrigerant flow heat pumps for space heating and space cooling. Combined with a 78kW rooftop PV system, the verified energy performance of this building is ~25 kBtu/sf/yr.r | https://www.hoffmancorp.com/project/washington-state-university-everett/ | https://www.srgpartnership.com/work/wsu-everett-university-center | Architect: SRG Partnership. Builder: Hoffman Corporation. | SRG Partnership |  | Hoffman Corporation | Built | 48.005 | -122.1974
38 |  | Clare's Place Supportive Housing | Electric | Y | Y |  | Everett | Snohomish | 38 | Affordable Housing |  | Ultra-High Efficiency Affordable Housing Demonstration Funding to create healthy, supportive housing. Uses heat pumps for domestic hot water and a heat pump VRF system for common spaces. No HPs for in-unit heat/cool; only central water heating - David Reddy can share insight on some challenges with the water system since operation. The facility does have balanced ventilation with heat recovery, and some other passive measures (triple pane windows, exterior insulation, some exterior window shades). | https://501eb6ac-6d64-4a8a-aa7d-e67cc8642e11.filesusr.com/ugd/8069ca_b12c791d8c8c4a6fbe5bf12cb956f563.pdf |  | Catholic Housing Services; Environmental Works; OBrien360 - David Reddy |  | O'Brien 360 - David Reddy | Catholic Housing Services | Built | 47.9414 | -122.2162
39 |  | Felicity (Duplex). 1141 Grant St, Bellingham, WA 98225 | Induction | Y | Y |  | Bellingham | Whatcom | 40 | Residential, Duplex |  | All electric (uncertified) Passive House + ADU Heat pump for space conditioning. HRVs per unit for ventilation Shared HPWH between units Solar PV for Net Zero energy | https://www1.eere.energy.gov/buildings/residential/pdfs/doe_ch_case_studies/2021hiawinner-bundle-felicity-poster.pdf | https://sustainableconnections.org/green-home-tours-and-talks-details/felicity-house/ | Designer: Bundle Design Studio. Builder: Instinct Builders. | Bundle Design Studio |  | Instinct Builders | Built | 48.7422 | -122.4695
40 |  | Midcentury Deep Energy Make Over. 117 Hawthorne Rd, Bellingham, WA 98225 | Induction | Y | Y |  | Bellingham | Whatcom | 40 | Residential, Single-family detached |  | All electric High Performance House CO2 air to water Heat pump for radiant + DHW HRV for ventilation Solar PV for Net Zero energy | https://www.energy.gov/eere/buildings/doe-tour-zero-midcentury-deep-energy-makeover-bundle-design-studio | https://sustainableconnections.org/green-home-tours-and-talks-details/hawthorn-hideaway/ | Designer: Bundle Design Studio. Builder: Instinct Builders. | Bundle Design Studio |  | Instinct Builders | Built | 48.7139 | -122.5062
41 |  | Bayside Bungalow Deep Energy Remodel, 114 Bayside Pl, Bellingham, WA 98225 | Induction | Y | Y |  | Bellingham | Whatcom | 40 | Residential, Single-family detached |  | All electric High Performance Heat pump for space conditioning. HRV for ventilation HPWH Solar PV for Net Zero energy. This house had the 4th lowest HERs score in the US in 2020! | https://sustainableconnections.org/green-home-tours-and-talks-details/right-on-rambler/ |  | Designer: Bundle Design Studio. Builder: Houseco Construction. | Bundle Design Studio |  | Houseco Construction | Built | 48.7158 | -122.507
42 |  | 919 13th St DADU, Bellingham, WA 98225 | Induction | Y | Y |  | Bellingham | Whatcom | 40 | Residential, Single-family detached |  | All electric (uncertified) Passive House + ADU Heat pump for space conditioning. HRV for ventilation HPWH |  |  | Designer: Bundle Design Studio. | Bundle Design Studio |  |  | Built | 48.7245 | -122.501
43 |  | Smith House; 2401 Victor St, Bellingham, WA 98225 | Induction | Y | Y |  | Bellingham | Whatcom | 42 | Residential, Single-family detached |  | All electric (uncertified) Passive House + ADU CO2 air to water heat pump for radiant + DHW- shared between units HRVs per unit for ventilation Solar PV for Net Zero energy |  |  | Designer: Bundle Design Studio. | Bundle Design Studio |  |  | Built | 48.7619 | -122.4953
44 |  | Sunnyland Elementary School (reconstruction) | Unknown if there are cooktops | Y | N |  | Bellingham | Whatcom | 42 | School |  | Originally planned to be gas-heated, the design team helped Bellingham Public Schools change course to be all-electric and solar-ready. It will likely utilize multiple heating systems, including centralized heat pump HVAC. The facility is planned to be opening in August 2022. | https://bellinghamschools.org/about/committees-advisory-groups/sunnyland-educational-specifications-design-advisory-committee/ | [5 empty] | Design/Construction | 48.7674 | -122.4644
45 |  | Seattle Aquarium Ocean Pavilion | Unknown if there are cooktops | Y | Y |  | Seattle | King | 43 | Aquarium | 50000 | The 50,000-square-foot new Ocean Pavilion will be sited adjacent to the existing Seattle Aquarium along the downtown Seattle Waterfront. Fulfilling the mission of the Aquarium, ocean health, the design uses low-carbon electric heat pumps instead of gas to prevent ocean acidification from combusting fossil fuels. | https://www.seattleaquarium.org/ocean-pavilion/sustainability | https://lmnarchitects.com/project/seattle-aquarium-ocean-pavilion | Architect: LMN Architects. | LMN Architects |  |  | Design/Construction | 47.6074 | -122.343
46 | 2021-05-05 16:08 | University of Washington, Foster School of Business Founders Hall | Unknown if there are cooktops | Y | Y |  | Seattle | King County | 43 | Higher Ed | 91000 | Founders Hall is an all-electric building, drastically reducing operational carbon emissions by not connecting to the campus steam system. The design includes 91,000 square feet of instructional, academic, and administrative spaces within a mass timber structure. | https://foster.uw.edu/about-foster-school/campus/ |  | Architect: LMN Architects. General Contractor: Hoffman Construction. Mechanical, Electrical and Plumbing Engineering: PAE Consulting Engineers. | LMN Architects | PAE | Hoffman Corporation | Construction | 47.6591 | -122.3077
47 | 2021-04-30 14:56 | The Bullitt Center | Unknown if there are cooktops | Y | Y |  | Seattle | King County | 43 | Office | 50000 | The world’s largest commercial Living Building, The 50,000 square foot Bullitt Center, a 6-story office building, features a 242 kW rooftop photovoltaic array; a closed-loop ground source heat pump HVAC system; radiant floors; rainwater harvesting; greywater treatment; and composting toilets. | https://www.pae-engineers.com/projects/bullitt-center |  | Owner: Bullitt Foundation Developer: Point32 Architect: The Miller Hull Partnership Mechanical, Electrical, Plumbing, Lighting: PAE Consulting Engineers | Miller Hull Partnership | PAE |  | Built | 47.6144 | -122.3124
48 | 2020-12-22 13:24 | Sunset Electric | Unknown | Y | Y |  | Seattle | King | 43 | Multi-Family, Mid to High Rise |  | This LEED Platinum apartment complex uses a central heat pump water heater system that harvests heat from the parking garage to create domestic hot water for the apartments. | https://www.architectmagazine.com/project-gallery/sunset-electric-6384 |  | Architects: Weber Thompson. Engineer: Ecotope. | Weber Thompson Consulting | Ecotope |  | Built | 47.6151 | -122.3178
49 | 2020-12-22 13:49 | Sitka Apartments | Unknown | Y | Y |  | Seattle | King | 43 | Multi-Family, Mid to High Rise |  | The innovative Sitka Apartments use a waste water heat pump system which turns today's waste water into tomorrow's hot water. This LEED Platinum building also incorporates a greywater harvesting system to irrigate the surrounding landscaping. | https://www.metropolismag.com/architecture/residential-architecture/sitka-runberg-architecture-group/ |  | Architects: Runberg Architecture Group, Vulcan. Engineer: Ecotope. | Runberg Architecture Group | Ecotope |  | Built | 47.6214 | -122.3311
50 | 2020-12-22 13:50 | Cascade Apartments | Unknown | Y | Y |  | Seattle | King | 43 | Multi-Family, Mid to High Rise |  | This high-rise targeting LEED Platinum uses an ultra efficient HVAC and domestic hot water system with VRF heat pumps located in both the below grade parking garage and on the roof. By utilizing the thermal buffering effect of the ground as well as heat recovery from lights, cars, and garage exhaust air, this building is expected to be the most efficient high-rise in the region. | https://www.equityapartments.com/seattle/south-lake-union/cascade-apartments#/ |  | Architects: Ankrom Moisan Architects, Vulcan. | Ankrom Moisan |  | Vulcan | Built | 47.6121 | -122.325
51 | 2020-12-22 13:23 | Stackhouse Apartments | Unknown | Y | Y |  | Seattle | King | 43 | Multi-Family, Mid to High Rise, Office, Small Retail |  | This LEED Platinum apartment complex renovated the Supply Laundry Building into a multifamily complex as well as office and retail space. Design includes a heat pump water heater, and heat pump, and rainwater catchment and reuse. | https://www.stinebaugh.com/wp-content/uploads/ASHRAE-Journal_April-2016_Stackhouse-Case-Study.pdf |  | Architects: Runberg Architecture Group, Vulcan. Engineer: Ecotope. | Runberg Architecture Group | Ecotope | Vulcan | Built | 47.6223 | -122.3309
52 |  | UW Intellectual House | Unknown if there are cooktops | Y | N |  | Seattle | King | 43 | School, Assembly |  | This longhouse-style facility at the University of Washington is meant to increase Native American student's success at UW and includes a large community gathering space, commercial kitchen, meeting rooms, study spaces, and offices. The mechanical system includes a novel mixed-mode natural/mechanical ventilation design with an Energy Recovery Ventilator, and variable capacity heat pumps sized for space heating | https://www.washington.edu/diversity/tribal-relations/intellectual-house/ |  | Architect: Jones & Jones. Engineer: Ecotope. | Jones & Jones | Ecotope |  | Built | 47.6583 | -122.3048
53 |  | Northgate II | Electric | Y | Y |  | Seattle | King | 46 | Multi-Family, Mid to High Rise |  | This building includes 269 studio, 1-bedroom, and 2-bedroom units and aresident lounge, theater, fitness center, outdoor living space, and electric car charging stations. The building also includes a 23,000 sf retail space for Total Wine. Using high efficiency Variable Refrigerant Flow (VRF) heat pumps for the amenity spaces, Heat Recovery Ventilation, improved lighting LPDs, improved glazing and right sized corridor ventilation with 100% un-tempered outside air. | https://ecotope.com/project/northgate-ll/ |  | Engineer: Ecotope. |  | Ecotope |  | Built | 47.7132 | -122.3212
54 | 2020-12-22 13:01 | Bellevue Youth Theater | Unknown if there are cooktops | Y | Y |  | Bellevue | King | 48 | Assembly | 12000 | This 12,000 square foot theater is built into the existing sloped hillside, which provided superinsulation of the ground concrete and is a very stable thermal environment. The focus was on "right sizing" the heat pump capacity using a vertical bore ground source heat pump for heating and cooling and domestic hot water production. | http://ecotope.com/project/bellevue-youth-theater/ |  | Architect: Becker Architects. Engineer: Ecotope. | Becker Architects | Ecotope |  | Built | 47.6219 | -122.117
55 | 2020-12-09 10:00 | Microsoft Campus Commercial Kitchen | Induction | Y | Y |  | Redmond | King | 48 | Office, Retail, Commercial Kitchen |  | Microsoft is re-developing and expanding its East Campus in Redmond, WA, totaling 3 Million sf of office, retail, and restaurant space. The project will include fossil-fuel-free heating and hot water using a Central Plant with geo-wells. Cooking will also be fossil fuel free at the numerous restaurants as well as the large catering kitchen, often using induction technology. | https://news.microsoft.com/modern-campus/ |  | Architects: LMN Architects, ZGF Architects, NBBJ, WRNS, AEI, and many others. Engineers: McKinstry, PAE, and others. | LMN Architects | PAE |  | Under Construction | 47.6445 | -122.137
56 |  | Pivotal Ventures | Unknown if there are cooktops | Y | N |  | Kirkland | King | 48 | Office | 20000 | Pivotal Ventures is a 20k square foot independent executive office, certified as an All Electric Building. Using a unique air source heat pump application allowed the AHU to be split while still meeting the heat recovery requirements of the Energy Code. An air source heat pump extracts heat not only from ambient air, but also from the building’s exhaust air stream. The recovered heat is then used to heat the building. An underfloor supply air system and perimeter heating & cooling units provide an ultra-quiet HVAC system in open office spaces. | https://www.pivotalventures.org/ |  | Engineer: PAE. |  | PAE |  | Built | 47.6964 | -122.1823
57 | 2021-03-16 20:47 | Schickler Lane Passive House | Unknown | Y | Y |  | Bellingham | Whatcom | 42 | Single Family New Construction |  | This Certified Passive House acheived a PHIUS+ Source Zero certification. It employs a Bosch Ground Source Heat Pump and a Zehnder 350 heat recover ventilation (HRV) unit, which filters the air and reduces heating needs. The cooktop is electric. | https://www.phius.org/projects/1482 |  | Builder: Bellingham Bay Builders. Architect: Bundle Design Studio. Rater: Greta Tjeltveit of Evergreen Certified. | Bundle Design Studio |  | Bellingham Bay Builders | Built | 48.8493 | -122.4773